## Sheet1
Legend
long view -- comfortable going long, but not short due to distributional asymmetry
short view -- comfortable going short, but going long would be a waste
balanced view -- comfortble going either long or short
FV Modeled? | Last Updated | Name | Monitored | Contingency | L30 Total RT Shadow Price | L30 Peak $/MWh RT Shadow | L30 Off-Peak $/MWh RT Shadow | Drivers | G25 Bind Likelihood | H25 Bind Likelihood | GH25 Outages | Highest Exposure Path | Notes
Y | 2025-01-09 | Benton-Mud Lk | MUDLABENTO23_1 1 | MPNSP03 | 37339 | 13.55 | 82.51 | Bunker-Sherco, Eau Claire-King, gas gen to the south | Moderate | Moderate | Bunker-Sherco, Eau Claire-King, Bison-Alexandria, St. Lk.-Garden Pk. | NSP.GRANT.ARR -> MP.AEPE14 | Insensitive to wind gen
Y | 2025-01-09 | Fergus-Hoot Lk | HOOT_FERS11_1 1 | OTP23016 | 14125.28 | 44.14 | 0.67 | Derate, Wind gen (WAUE, OTP, MDU), Morris-Grant, Front-Wahp, Bison-Alex | High | Moderate | Buff-Alice, Bison-Alex | OTP.OTPW_11.AZ -> OTP.HLSOLAR | Related to Hank-Wahp constraint
Y | 2025-01-09 | Forman-Forman | FORMAFORMN11_1 1 | OTP23100 | 5384.66 | 16.23 | 0.47 | Pre-uprate, Wind gen (eastern ND/SD border), WAUE, SPC, OTP load | Very High | Very High for 10 days | Forman-Gwin, Buff-Alice, Merri-Wish | MDU.ELLNDL_LD -> OTP.MPC | Uprated from 125 MW to 169 MW on 11/1 (through 3/31). Has bound post-uprate, but at a noticeably lower run rate.
Y | 2025-01-09 | Ft. Thomp XF | FTTHOMP KU1B1 | WAU34X20 | 18489.75 | 23.5 | 27.43 | Lel.Olds-Chap., ending 1/23 | Very Low | Very Low | Glen-Whit (bearish) | MEC.FARMER -> MDU.TSWF1 | Lel. Olds - Chap.'s return to service slipped from 12/19/24 to 1/23/25 on 11/21 when the outage began. Nonzero risk of slippage.
Y | 2025-01-09 | Hank-Wahp | WAHPEHANKS23_1 1 | MDU23010 | 1910.86 | 1.4 | 3.66 | Lisb-Ender, Appl-Granite, Granite-Blair, Wishek XF, Trav-Fair, Forman XF, Merri-Wish | Moderate | Low; (Moderate for 4 days) | Buff-Alice, Center-Jamestown, Merri-Wish, Chub Lk.-Helena, Forman-Gwinner, Forman-Forman | MDU.ELLNDL_LD -> OTP.OTPW_11.AZ | Seems to require high wind gen. and favorable outages to bind. Anomalous 30-hour derate 12/4-12/6.
Y | 2025-01-09 | Hett-Cent | HETINCENTP11_1 1 | WAU23073 | 1547.96 | 0.21 | 3.7 | Thund. Spirit WF, Ft. Thomp-N. Bend, Ft. Thomp-Oahe, N. Bend-N. Bend W., Oahe XF, Oahe-N. Bend, Oahe-Sully, Phil. Tp.-Oahe, Lel. Olds-Chap., Lel. Olds-Lel. Olds, Lel. Olds-Antel. | Moderate | Moderate | Glen-Whit, Merri-Wish | MDU.TSWF1 -> MDU.CEDARHLS | Odd relationship between SPP/MISO binding. Related to Maurine XF constraint. History of very bullish outage clusters leading to binding events. During various topological regimes, sensitive to nuclear, gas, coal gen, SPC, WAUE load.
Y | 2025-01-09 | Magic-Sour | MAGICSOURI11_1 1 | WAU23044 | 403.79 | 1.26 | 0 | Pre-uprate, Lel. Olds-Chap., Lel. Olds-Lel. Olds, Lel. Olds-Antel., Excess WAUE load | Low | Low | None of note | NSP.VELVAVELV -> GRE.NSPP_1.AZ | Seems likely to rip early winters pre-uprate.
Y | 2025-01-09 | Maurine XF | MAURINE KV1A1 | WAU23040 | 11747.38 | 10.54 | 20.94 | Ft. Thomp-N. Bend, Ft. Thomp-Oahe, N. Bend-N. Bend W., Oahe XF, Oahe-N. Bend, Oahe-Sully, Phil. Tp.-Oahe, Lel. Olds-Chap., Lel. Olds-Lel. Olds, Lel. Olds-Antel. | High | High | Glen-Whit. | MEC.FARMER -> MDU.TSWF1 | Could be very attractive in J25. Lel. Olds. XF, Oahe-Sully, Sully-Whit. Related to Hett-Cent constraint.
Y | 2025-01-09 | Nashua XF | NASHUA T1_H | KCP34102 | 11947.88 | 12.55 | 19.83 | Wind gen (IA, MN, NE, KS), Iatan, 87th St.-Craig, Stranger Ck-87th St. | Moderate | Low | Craig KCPL XF, Craig CBs | CWLD.BLRG -> AECI.APM_2.AZ | Stranger Ck.87th St. outage heavily bullish during early F25 binding event.
| 2025-01-09 | Overton XF | OVER XFMR_1_345 | AECAMO03 | 24055.4 | 30.54 | 35.71 | Surplus generation in NPPD, IA, KS, Wind gen, Coal gen around/West of Kansas City | High | High | Maywd-Sub. T, KEO-WMPEH, Clevl.-Sooner | CWLD.BLRG -> AECI.APM_2.AZ | Need to understand AECI perspective.
Y | 2025-01-09 | Quad-Rock Ck | QUAD_ROCK_34_1 1 | CEMEC01 | 36528.81 | 43.77 | 56.3 | Cordova-Sub. 39 | Low | Moderate | Arnold-Morgan Valley | MEC.OAKGRM.MVP -> ALTW.BVR.ARR | Has not bound since the Cordova-Sub. 39 outage ended.
Y | 2025-01-10 | Wilmarth XF | WILMART TR9 | NSP34007 | 13538.66 | 10.78 | 25.23 | Wilmarth-MEC, Wilmarth 8S24 (ring bus with incident contingency) | High | High | 8S24 CB, S. Bend-Blue, S. Bend XF, S145-Rapidan, Rapidan-Century | NSP.MANKATST31 -> NSP.MANKATOCT1 | During the first week of F25, two forced outages drove this constraint. With the 8S24 CB out through . The constraint has bound even when flows appear to have been nowhere near the rating limit.
Y | 2025-01-10 | Cooper-Sub1280 | 12802 1 | NPP34001 | 9560.68 | 21.63 | 7.62 | Cooper-Nebraska City, Atchison-Northboro-Orient | Very Low | Very Low | None of note | MEC.FARMER -> CSWS | Clearly driven by the Cooper-Nebraska City outage.
N | 2025-01-10 | Monona XF | MONONA MON_AC | BASE | 5557.03 | 11.78 | 5.04 | New Harvest WF, Victory WF, Carroll WF | Unsure | Unsure | Raun-Ida Co., Little Sioux-Clipper | MEC.NWHAR_IBR -> MEC.BEPM.CPZD | Low confidence.
Y | 2025-01-10 | Badger XF | BADGER T1 | WPS34001 | 1203.45 | 3.81 | 0.11 | Werner W.-Rocky Run, Point Beach, Elm Road, Edgewater | Very Low | Very Low | Adams-Mitch. | WPS.GLU -> WEC.RBC1 | Flow bias is usually (~70% of the time) up the XF, against the constraint.
N | 2025-01-13 | Nordic-Perch Lk | NORDICPERC1 1 | MUP3402 | 2319.94 | 0.55 | 5.3 | Empire-Forsyth, Empire XFs, Marquette load | Mon. OOS | Mon. OOS 1/2 of month | Nordic-Perch Lk, Dead Rvr.-Arnold, Arnold-Perkins, Presque Isle-Perch Lk, Dead Rvr.-Presque Isle, Huron-Iron Town, National-Iron Town | MIUP.PEAVYFALL -> MIUP.MIHM11 | Won't bind due to monitored element being OOS, but something in the area should bind.
N | 2025-01-13 | Kuester-Huron | L1 1; L2 1 | BASE | 143.94 | 0.5 | 0 | F.D. Kuester | Low | Low | Huron-Iron Town, National-Iron Town, Empire-Piut | MIUP.KUESTER11 -> any other node | Monitored is listed as "BASE_KSTRSI." L1 and L2 are two <500 ft. lines. Bound in RT
N | 2025-01-13 | Nordic-Mntain | 6750_1 1 | MUPWEC14 | 0 | 0 | 0 | Plains-Arnold, Plains-CHA 1 | Low | Low | Nordic-Perch Lk, Arnold-Perkins | MIUP.PEAVYFALL -> MIUP.CHALKHILL | Bound 2024-06-14 in RT. Shouldn't bind for the same ctg., but something similar could bind given the outages.
N | 2025-01-13 | Land O.L.-Watersmeet | 6530_5 5 | UPP13124 | 0 | 0 | 0 | Silver Rvr.-Perch Lk. | Medium | Medium | Nordic-Perch Lk. | MIUP.WEPM -> MIUP.WOLV | Bound 2024-08-16 in RT. Not sure that this will bind, but the Nordic-Perch Lk and tight Marquette area lead to some risk.
N | 2025-01-13 | Pioneer-W. Marinet | F-58 1 | PIONEERW | 0 | 0 | 0 | Morgan-Plains, Roosevelt-Sherw., W. Marinet-Roosevelt, W. Marinet ZBR, Roosevelt XF | Low | Low | None of note | WPS.OCONTO.MP -> MGE.WMARIN034 | Bound 2024-10-16 and 2024-10-17 in RT.
Y | 2025-01-13 | Wabaco-Alma | ALMAWABAC16_1 1 | NSP34102 | 1089.09 | 1.1 | 0.03 | ALTW, NSP, MEC wind gen., Eau Claire-King | High | High | Eau Claire-King, Eau Claire-Wheaton, Elk Mnd.-Wheaton, Tremval.-Sevn. Ml. | SMP.OWEF -> DPC.JPM | Flows from Twin Cities Eastward into WI will be bottlenecked with several key outages.
Y | 2025-01-13 | Briggs Rd. XF | BRIGGSRD TR9_1 | MGENSP10 | 1183.86 | 1.22 | 0.01 | Eau Claire-King, Rochester-Wabaco, MEC, ALTW, NSP, OTP, NPP, WAUE wind | High | High | Eau Claire-King, Eau Claire-Wheaton, Elk Mnd.-Wheaton, Tremval.-Sevn. Ml. | NSP.BRGSRD.MVP -> NSP.FRENCH1 | Highest exposure path looks attractive for GH25 as of the F25 MCPs.
N | 2025-01-13 | Port Wash.-Saukville | X-133 1 | WEC13209 | 0 | 0 | 0 | X-114 1 | Mon., ctg. OOS 2/3 of month | Mon., ctg. OOS 3/4 of month | X-132 Port Wash.-Saukv., X-133 Port Wash.-Saukv., X-134 Port Wash.-Saukv. | WEC.CC.PORTW1 -> ALTE.ONIONRIV | Won't bind when monitored and contingency are out, but something in the area must bind. No IIR records of Port Washington planned outages. Bound briefly in G24.