## Apr-25 RT Pk
cid | monitored | dir | ctg | mkt | class | moyr | std | cnt | avg | sum | per_avg | bind% | mon_name | drivers
336040 | OVRT-MOB-1 A | 1 | THOMAS HILL - MCCREDIE 345 | RT | Peak | 2025-04-01 | 490.8 | 74 | 546.38 | 40432.25 | 114.86 | 21.02% | MOB OVRT-MOB-1 A (LN/AMMO/AMMO) | Bolstad-Rebel 161 kV, Fabi-Zachary 345 kV, Maywood-Fabi 345 kV outages. Stopped binding once Thomas Hill took a 738 MW outage starting 4/21/25. Typically needs Thomas Hill's push.
445826 | PRES_TIBB_1558 A | 1 | COMMODORE - JORD 345 | RT | Peak | 2025-04-01 | 225 | 91 | 241.78 | 22001.54 | 62.5 | 25.85% | PRES PRES_TIBB_1558 A (LN/AMIL/AMIL) | Mt. Vernon-West Frankfort 345 kV, Baldwin-Rush Island-Tyson 345 kV outages. Pushed on by Prairie State and Baldwin. Did not bind during Tibbs-Steeleville outage.
441283 | COUCH__LEWISV3 A | 1 | MT OLIVE-LAYFIELD 500 | RT | Peak | 2025-04-01 | 962.49 | 14 | 1343.78 | 18812.96 | 53.45 | 3.98% | COUCH COUCH__LEWISV3 A (LN/EAI/EAI) | Sarepta-Longwood 345 kV outage. Valiant-Pittsburg-John Co. 345 kV outages (the latter path cutting off Diamond Spring Wind and Kiamichi CC supply). Turk outage (among other high-side generation outages).
484945 | RINGOL AT2 | -1 | MT OLIVE-LAYFIELD 500 | RT | Peak | 2025-04-01 | 215.07 | 98 | 146.05 | 14312.6 | 40.66 | 27.84% | RINGOL AT2 AT2 (XF/EES/*) | Ringgold XF1 138/115 kV, Sarepta-Longwood 345 kV outages.
353605 | MCLEODN TR1 | 1 | SCOTT CO - HELEN 345 | RT | Peak | 2025-04-01 | 278.83 | 18 | 770 | 13860.08 | 39.38 | 5.11% | MCLEODN TR1 TR1 (XF/NSP/*) | Chub Lake-Helena 345 kV outage combined w/ Helena-Scott 345 kV contingency. Blue Lake-McLeod 230 kV outage.
326036 | 11303 A | -1 | ST JOE - COOPER 345 | RT | Peak | 2025-04-01 | 160.33 | 62 | 176.09 | 10917.82 | 31.02 | 17.62% | MIDWAY5 11303 A (LN/MPS/MPS) | Fairport-St. Joe 345 kV outage. High wind. Southward flows.
482684 | FULTON_PAT_WX3 A | 1 | MT OLIVE-LAYFIELD 500 | RT | Peak | 2025-04-01 | 676.11 | 8 | 1313.12 | 10504.95 | 29.84 | 2.27% | PAT_WX FULTON_PAT_WX3 A (LN/EAI/CSWS)
357289 | WILMART TR9_2 | -1 | CRANDALL - WILMARTH 345 | RT | Peak | 2025-04-01 | 155.7 | 53 | 179.35 | 9505.73 | 27 | 15.05% | WILMART TR9 TR9_2 (XF/NSP/*) | CB 8S24 @ Wilmarth forced outage, Crandal-Wilmarth 345 kV contingency leading to post-contingent split bus.
484135 | LEWISV_PAT_WX3 A | 1 | MT OLIVE-LAYFIELD 500 | RT | Peak | 2025-04-01 | 546.94 | 7 | 1349.58 | 9447.08 | 26.84 | 1.99% | LEWISV LEWISV_PAT_WX3 A (LN/EAI/EAI)
263166 | BNSV_EGNE_4501 A | 1 | WILTON CENTER-DUMONT 765 (11215) | RT | Peak | 2025-04-01 | 57.3 | 106 | 88.83 | 9415.6 | 26.75 | 30.11% | BUNSONVL BNSV_EGNE_4501 A (LN/AMIL/AEP) | Temporary 700 MW derate. Uprated back to normal rating on 4/24/25. Won't bind at normal ratings.
314718 | FORMAFORMN11_1 1 | 1 | HANKINSON-WAHPETON 230+WAHPETN TR2 | RT | Peak | 2025-04-01 | 173.51 | 58 | 158.87 | 9214.52 | 26.18 | 16.48% | FORMAN FORMAFORMN11_1 1 (LN/OTP/WAUE) | Seasonal derate, high wind. Needs Lisbon-Enderlin 115 kV outage (which is nearly always out) to bind.
158 | CLAREWARRE13_1 1 | -1 | TITTABAWA-GALLAGHER-LIVINGSTON 345 | RT | Peak | 2025-04-01 | 215.89 | 26 | 346.75 | 9015.51 | 25.61 | 7.39% | CLARE_JT CLAREWARRE13_1 1 (LN/CONS/CONS)
360090 | CHUB_LK TR1_1 | 1 | SCOTT CO - HELEN 345 | RT | Peak | 2025-04-01 | 350.46 | 23 | 355.6 | 8178.84 | 23.24 | 6.54% | CHUB_LK R1_1 TR1_1 (XF/NSP/*) | High wind.Prairie Island-Red Rock 345 kV, North Rochester-Prairie Island 345 kV outages. High Bridge, Cannon Falls, Prairie Island outages. Typically needs high wind (>20 GW) and a bullish outage to bind. Chub Lake-Helena 345 kV outage is heavily bearish.
344778 | MCLEODN TR1 | 1 | BLUE LAKE - MCLEOD 230 | RT | Peak | 2025-04-01 | 198.85 | 35 | 204.31 | 7150.74 | 20.31 | 9.94% | MCLEODN TR1 TR1 (XF/NSP/*)
3744 | KOKOMTIPTO23_1 1 | 1 | NUCOR - CAYUGA 345 (34501) | RT | Peak | 2025-04-01 | 211.69 | 52 | 131.99 | 6863.25 | 19.5 | 14.77% | KOKOMOPS KOKOMTIPTO23_1 1 (LN/CIN/CIN)
299952 | KLINENORTH13_1 1 | 1 | DUMONT - SORENSON 765 | RT | Peak | 2025-04-01 | 1480.45 | 4 | 1580.33 | 6321.32 | 17.96 | 1.14% | KLINE KLINENORTH13_1 1 (LN/AEP/NIPS)
52625 | 08OKLFRANC13_1 1 | 1 | GIBSON - FRANCISCO 345 (34516) | RT | Peak | 2025-04-01 | 451.61 | 21 | 291.28 | 6116.82 | 17.38 | 5.97% | 08OKLND 08OKLFRANC13_1 1 (LN/CIN/SIGE)
243134 | DARD_D_DARDNL5 A | -1 | ARKANSAS NUCLEAR - FT SMITH 500 | RT | Peak | 2025-04-01 | 272.18 | 28 | 215.97 | 6047.16 | 17.18 | 7.95% | DARDNL DARD_D_DARDNL5 A (LN/EAI/SPA)
461778 | G-111 1 | 1 | S FOND DU LAC-FITZGERALD 345 F318 | RT | Peak | 2025-04-01 | 138.36 | 40 | 149.1 | 5964.05 | 16.94 | 11.36% | NFONDDUL G-111 1 (LN/ALTE/ALTE)
374110 | JOPPA_SHAWNEE3 3 | 1 | SHAWNEE 500/345 T11 | RT | Peak | 2025-04-01 | 308.89 | 9 | 635.82 | 5722.42 | 16.26 | 2.56% | JOPPA_N JOPPA_SHAWNEE3 3 (LN/GLH/TVA) | Joppa North-Shawnee Ckt. 4 outage. Joppa North-Shawnee is a 161 kV triple circuit MISO-TVA tie line. Stopped binding on 4/28/25 when the monitored element began an outage.

## Apr-25 RT Off
cid | monitored | dir | ctg | mkt | class | moyr | std | cnt | avg | sum | per_avg | bind% | mon_name | drivers
3443 | 13839 A | 1 | WILTON CENTER-DUMONT 765 (11215) | RT | Off-peak | 2025-04-01 | 241.72 | 124 | 245.04 | 30385.43 | 82.57 | 33.7% | DUNEACRE 13839 A (LN/NIPS/NIPS) | Babcock-Stillwell 345 kV, Schahfer-Burr Oak 345 kV, Reynolds-Burr Oak 345 kV, Burr Oak-Leesburg 345 kV, Reynolds-Olive 345 kV, Olive-Univ. Park N. 345 kV outages.
484945 | RINGOL AT2 | -1 | MT OLIVE-LAYFIELD 500 | RT | Off-peak | 2025-04-01 | 539.45 | 89 | 337.97 | 30079.35 | 81.74 | 24.19% | RINGOL AT2 AT2 (XF/EES/*) | Ringgold XF1 138/115 kV, Sarepta-Longwood 345 kV outages.
314718 | FORMAFORMN11_1 1 | 1 | HANKINSON-WAHPETON 230+WAHPETN TR2 | RT | Off-peak | 2025-04-01 | 227.8 | 90 | 308.61 | 27775.25 | 75.48 | 24.46% | FORMAN FORMAFORMN11_1 1 (LN/OTP/WAUE) | Seasonal derate, high wind. Needs Lisbon-Enderlin 115 kV outage (which is nearly always out) to bind.
445826 | PRES_TIBB_1558 A | 1 | COMMODORE - JORD 345 | RT | Off-peak | 2025-04-01 | 216.62 | 101 | 267.48 | 27015.96 | 73.41 | 27.45% | PRES PRES_TIBB_1558 A (LN/AMIL/AMIL) | Mt. Vernon-West Frankfort 345 kV, Baldwin-Rush Island-Tyson 345 kV outages. Pushed on by Prairie State and Baldwin. Did not bind during Tibbs-Steeleville outage.
336040 | OVRT-MOB-1 A | 1 | THOMAS HILL - MCCREDIE 345 | RT | Off-peak | 2025-04-01 | 398.2 | 34 | 503.17 | 17107.88 | 46.49 | 9.24% | MOB OVRT-MOB-1 A (LN/AMMO/AMMO) | Bolstad-Rebel 161 kV, Fabi-Zachary 345 kV, Maywood-Fabi 345 kV outages. Stopped binding once Thomas Hill took a 738 MW outage starting 4/21/25. Typically needs Thomas Hill's push.
263166 | BNSV_EGNE_4501 A | 1 | WILTON CENTER-DUMONT 765 (11215) | RT | Off-peak | 2025-04-01 | 82.68 | 124 | 106.16 | 13163.8 | 35.77 | 33.69% | BUNSONVL BNSV_EGNE_4501 A (LN/AMIL/AEP) | Temporary 700 MW derate. Uprated back to normal rating on 4/24/25. Won't bind at normal ratings.
326036 | 11303 A | -1 | ST JOE - COOPER 345 | RT | Off-peak | 2025-04-01 | 176.09 | 57 | 218.19 | 12436.62 | 33.8 | 15.49% | MIDWAY5 11303 A (LN/MPS/MPS) | Fairport-St. Joe 345 kV outage. High wind. Southward flows.
332040 | OVER XFMR_1_345 | 1 | MCCREDIE - OVERTON 345 | RT | Off-peak | 2025-04-01 | 177.83 | 47 | 231.43 | 10877.09 | 29.56 | 12.77% | OVER X345 XFMR_1_345 (XF/AMMO/*) | Callaway County outage. Warrensburg East-Odessa 161 kV outage. SPP wind.
357289 | WILMART TR9_2 | -1 | CRANDALL - WILMARTH 345 | RT | Off-peak | 2025-04-01 | 127.43 | 51 | 212.96 | 10860.74 | 29.51 | 13.86% | WILMART TR9 TR9_2 (XF/NSP/*) | CB 8S24 @ Wilmarth forced outage, Crandal-Wilmarth 345 kV contingency leading to post-contingent split bus.
482316 | LYMT_OVRT_3 A | -1 | BURNS - MCCREDIE 345 (5470) | RT | Off-peak | 2025-04-01 | 405.51 | 25 | 320.08 | 8002 | 21.74 | 6.79% | LYMT LYMT_OVRT_3 A (LN/AMMO/AMMO)
484236 | WAKEFS5111_1 1 | 1 | SCOTT CO - HELEN 345 | RT | Off-peak | 2025-04-01 | 302.64 | 9 | 880.75 | 7926.76 | 21.54 | 2.45% | WAKEFLD WAKEFS5111_1 1 (LN/NSP/NSP) | Chub Lake-Helena 345 kV outage. Blue Lake TR7 230/115 kV outage. Sherburne Co. outage. High wind. Monticello outage increased constraint flows later in the month, but didn't overlap with a binding event.
332656 | BIGSTBROWN23_1 1 | 1 | ELLENDALE - TWIN BROOKS 345 | RT | Off-peak | 2025-04-01 | 118.26 | 51 | 146.25 | 7458.54 | 20.27 | 13.86% | BIGSTON BIGSTBROWN23_1 1 (LN/OTP/OTP) | Seasonal derate. Wind, natural gas generation to the South (Dakota Range, Astoria, Brookings area), push. Doesn't require high Big Stone generation output, though this is bullish.
477223 | PETERSBU_CATO 1 | -1 | GIBSON - POSEYVILLE EAST 345 | RT | Off-peak | 2025-04-01 | 300.73 | 26 | 286.45 | 7447.66 | 20.24 | 7.07% | CATO_JCT PETERSBU_CATO 1 (LN/SIGE/IPL) | Oakland-Princeton, Oakland-Francisco 138 kV outages. Constraint flow time series shows a changepoint around the start of Nov-24. Monitored element was on outage 4/16-4/24/25.
295416 | WPRISN_WIN1153 A | 1 | LAYFIELD - CAROLL 230 | RT | Off-peak | 2025-04-01 | 687.79 | 4 | 1482.46 | 5929.84 | 16.11 | 1.09% | WIN115 WPRISN_WIN1153 A (LN/EES/EES)
469042 | BARN-CALF-1 B | -1 | BURNS - MONTGOMERY 345 (5481) | RT | Off-peak | 2025-04-01 | 235.52 | 21 | 270.45 | 5679.47 | 15.43 | 5.71% | APCT BARN-CALF-1 B (LN/AMMO/AMMO)
310528 | IRVINBEACO16_1 1 | 1 | OTTUMWA - MONTEZUMA 345 | RT | Off-peak | 2025-04-01 | 60.06 | 60 | 94.3 | 5657.98 | 15.37 | 16.3% | IRVINESS IRVINBEACO16_1 1 (LN/ALTW/ALTW)
1531 | TEKAMSUB1216_1 1 | 1 | FORT CALHOUN-RAUN 345 | RT | Off-peak | 2025-04-01 | 259 | 18 | 312.3 | 5621.39 | 15.28 | 4.89% | TEKAMHO TEKAMSUB1216_1 1 (LN/OPPD/OPPD)
374110 | JOPPA_SHAWNEE3 3 | 1 | SHAWNEE 500/345 T11 | RT | Off-peak | 2025-04-01 | 364.37 | 13 | 417.24 | 5424.16 | 14.74 | 3.53% | JOPPA_N JOPPA_SHAWNEE3 3 (LN/GLH/TVA) | Joppa North-Shawnee Ckt. 4 outage. Joppa North-Shawnee is a 161 kV triple circuit MISO-TVA tie line. Stopped binding on 4/28/25 when the monitored element began an outage.
291696 | 13843 A | 1 | DUMONT-GREENTOWN 765 | RT | Off-peak | 2025-04-01 | 231.61 | 29 | 183.89 | 5332.67 | 14.49 | 7.88% | DUNEACRE 13843 A (LN/NIPS/NIPS)
353605 | MCLEODN TR1 | 1 | SCOTT CO - HELEN 345 | RT | Off-peak | 2025-04-01 | 347.06 | 8 | 665.32 | 5322.58 | 14.46 | 2.17% | MCLEODN TR1 TR1 (XF/NSP/*) | Chub Lake-Helena 345 kV outage combined w/ Helena-Scott 345 kV contingency. Blue Lake-McLeod 230 kV outage.