## May-25 RT Pk
cid | monitored | dir | ctg | mkt | class | moyr | std | cnt | avg | sum | per_avg | bind% | mon_name | drivers
225138 | BARKRC_BOGLSA6 A | -1 | MCKNIGHT - FRANKLIN 500 | RT | Peak | 2025-05-01 | 417.91 | 111 | 191.36 | 21240.42 | 63.22 | 33.04% | BARKRC BARKRC_BOGLSA6 A (LN/CLEC/EES) | Richard-Nelson 500 kV outage. River Bend trip. Led to NOLA load shed event.
490757 | BARN-CALF-1 B | -1 | MONTGOMERY - CALLAWAY - 8 345 | RT | Peak | 2025-05-01 | 555.41 | 27 | 721.46 | 19479.29 | 57.97 | 8.04% | APCT BARN-CALF-1 B (LN/AMMO/AMMO) | Callaway outage. Montgomery-Callaway 345 kV, Belleau-Enon Tap-Montgomery 345 kV outages, Rootbeer tap project.
314718 | FORMAFORMN11_1 1 | 1 | HANKINSON-WAHPETON 230+WAHPETN TR2 | RT | Peak | 2025-05-01 | 229.39 | 67 | 288.61 | 19336.55 | 57.55 | 19.94% | FORMAN FORMAFORMN11_1 1 (LN/OTP/WAUE) | High SD wind, Lisbon-Enderlin 115 kV outage. Summer ratings persist until Nov. 1.
487929 | BUGL_MASN_6564 B | -1 | MASON 345/138 T3 | RT | Peak | 2025-05-01 | 574.51 | 19 | 911.59 | 17320.25 | 51.55 | 5.65% | HNTT BUGL_MASN_6564 B (LN/AMMO/AMMO) | WRSN-MASN-4 C, MASN-CRL-8 A, MASN-MCLY-9 A, MASN_MER_6348 A, MASN_MER_6360 A 138 kV outages.
491073 | 865 A | 1 | LIEBERMAN-NORTH BENTON 138 | RT | Peak | 2025-05-01 | 463.63 | 21 | 662.32 | 13908.81 | 41.4 | 6.25% | SSHREVE 865 A (LN/CSWS/CSWS) | Whitehurst-Trichel 138 kV outage (SPP equipment).
3744 | KOKOMTIPTO23_1 1 | 1 | NUCOR - CAYUGA 345 (34501) | RT | Peak | 2025-05-01 | 246.22 | 66 | 158.26 | 10445.31 | 31.09 | 19.64% | KOKOMOPS KOKOMTIPTO23_1 1 (LN/CIN/CIN) | Amo-Edwardsport, Worthington-Merom, Worthington-Bloomington, Desoto-Fall Creek (PJM equipment) 345 kV outages. New solar pushes. Noblesville outage was bullish.
77127 | RAUNTEKAM16_1 1 | 1 | FORT CALHOUN-RAUN 345 | RT | Peak | 2025-05-01 | 372.67 | 23 | 434.64 | 9996.82 | 29.75 | 6.84% | RAUN RAUNTEKAM16_1 1 (LN/MEC/OPPD) | Southward wind transfer, Walter Scott Jr. outage, LN3521 A (SPP equipment) 345 kV outage, Sioux City-Twin Church 230 kV outage.
264624 | ABBOTTRAER16_1 1 | 1 | JASPER - LAUREL 161 | RT | Peak | 2025-05-01 | 471.57 | 45 | 200.16 | 9007.36 | 26.81 | 13.39% | ABBOTT ABBOTTRAER16_1 1 (LN/ALTW/ALTW) | Summer derate, Eastward wind transfer. Bound despite Marshalltown outage on the low side. Marshalltown-Toledo, Story Co.-Fernald 161 kV outages.
491439 | HULL_MRN_7324 A | 1 | PALMYRA-HANNIBAL WEST 161 | RT | Peak | 2025-05-01 | 690.2 | 5 | 1284.42 | 6422.08 | 19.11 | 1.49% | HULL HULL_MRN_7324 A (LN/AMIL/AMMO) | MPN_HULL_1494 138 kV outage. BELU-ENON_TP-MTGY-CALAWY 1 345 kV outages.
490866 | OVER XFMR_1_345 | 1 | MONTGOMERY - CALLAWAY - 8 345 | RT | Peak | 2025-05-01 | 693.93 | 6 | 1011.15 | 6066.9 | 18.06 | 1.79% | OVER X345 XFMR_1_345 (XF/AMMO/*) | BELU-ENON_TP-MTGY-CALAWY 1 345 kV outages. Wind generation. Callaway, Osage outages. Mid-MO load.
363403 | GOODLAND NO_1_XFMR | -1 | REYNOLDS-GOODLAND & HOOSIER WIND | RT | Peak | 2025-05-01 | 61.62 | 56 | 98.68 | 5526.08 | 16.45 | 16.67% | GOODLAND B NO_1_XFMR (XF/NIPS/*) | Wind generation along IL/IN border. Lack of high-side 69 kV outages (Kent St.-Wadena Jct.-West Point 69 kV) that would island Goodland XF from load.
344916 | 11303 A | -1 | FAIRPORT - GENTRY - NODAWAY 161 | RT | Peak | 2025-05-01 | 196.62 | 26 | 211.9 | 5509.28 | 16.4 | 7.74% | MIDWAY5 11303 A (LN/MPS/MPS) | Southward wind transfer. Maryville-Braddyville 161 kV outage is sometimes bullish, sometimes bearish.
357472 | MURPHHAYWA16_1 1 | -1 | SHEAS LAKE - WILMARTH 345 | RT | Peak | 2025-05-01 | 155 | 33 | 160.95 | 5311.37 | 15.81 | 9.82% | MURPHYCR MURPHHAYWA16_1 1 (LN/SMP/ALTW) | Adams-Hayward 161 kV outage. Eastward wind transfer.
360090 | CHUB_LK TR1_1 | 1 | SCOTT CO - HELEN 345 | RT | Peak | 2025-05-01 | 267.97 | 8 | 609.38 | 4875.05 | 14.51 | 2.38% | CHUB_LK R1_1 TR1_1 (XF/NSP/*) | Eastward wind transfer from Buffalo Ridge to Minneapolis. Stopped binding once Chub Lk-Helena 345 kV outage began.
337768 | 1368 A | 1 | HOSKINS - SHELL CREEK 345 | RT | Peak | 2025-05-01 | 131.65 | 27 | 178.38 | 4816.28 | 14.33 | 8.03% | PTRBRG_N 1368 A (LN/NPPD/NPPD) | NP_3515 A (Hoskins-Shell Ck) 345 kV outage (SPP equipment). High wind.
484131 | LIME_BARTO16_1 1 | 1 | SCOTT CO - HELEN 345 | RT | Peak | 2025-05-01 | 241.01 | 16 | 293.39 | 4694.27 | 13.97 | 4.76% | LIME_CK LIME_BARTO16_1 1 (LN/ALTW/ALTW) | Chub Lk-Helena 345 kV, Adams-Hayward 161 kV outages. Eastward wind transfer.
433119 | X-164 1 | -1 | ROCKDALE - KITTY HAWK 345 (W-10) | RT | Peak | 2025-05-01 | 480.35 | 12 | 371.51 | 4458.16 | 13.27 | 3.57% | NORWGNCK X-164 1 (LN/ALTE/ALTE) | Low solar generation. Riverside, West Riverside push. Bound for more hours, lower $/MWh rate off-pk vs. pk.
344778 | MCLEODN TR1 | 1 | BLUE LAKE - MCLEOD 230 | RT | Peak | 2025-05-01 | 245.17 | 18 | 242.34 | 4362.13 | 12.98 | 5.36% | MCLEODN TR1 TR1 (XF/NSP/*) | Eastward wind transfer from Buffalo Ridge-Minneapolis. Chub Lk-Helena 345 kV outage was/is mildly bullish.
122770 | BIGC-WARR-3 A | 1 | MONTGOMERY CITY 161/69 T2 | RT | Peak | 2025-05-01 | 1055.77 | 4 | 1083.95 | 4335.81 | 12.9 | 1.19% | WARR BIGC-WARR-3 A (LN/AMMO/AECI) | Montgomery-Callaway 345 kV outage. Montgomery-Rootbeer Tap-Belleau 345 kV outage. St. Louis load. Blue Bird Solar pushes. Sioux outage. Recall that Montgomery-Enon Tap 345 kV began an outage on 5/14, continuing this outage until its retirement on 6/10.
336040 | OVRT-MOB-1 A | 1 | THOMAS HILL - MCCREDIE 345 | RT | Peak | 2025-05-01 | 651.45 | 7 | 608.88 | 4262.19 | 12.69 | 2.08% | MOB OVRT-MOB-1 A (LN/AMMO/AMMO) | Bolstad-Rebel 161 kV, Norton-Salisbury 161 kV (SPP equipment) outages. Callaway outage. Bound despite Thomas Hill partial outage.

## May-25 RT Off
cid | monitored | dir | ctg | mkt | class | moyr | std | cnt | avg | sum | per_avg | bind% | mon_name | drivers
225138 | BARKRC_BOGLSA6 A | -1 | MCKNIGHT - FRANKLIN 500 | RT | Off-peak | 2025-05-01 | 1186.4 | 70 | 755.8 | 52905.98 | 129.67 | 17.16% | BARKRC BARKRC_BOGLSA6 A (LN/CLEC/EES) | Richard-Nelson 500 kV outage. River Bend trip. Led to NOLA load shed event.
314718 | FORMAFORMN11_1 1 | 1 | HANKINSON-WAHPETON 230+WAHPETN TR2 | RT | Off-peak | 2025-05-01 | 149.11 | 85 | 348.73 | 29641.95 | 72.65 | 20.83% | FORMAN FORMAFORMN11_1 1 (LN/OTP/WAUE) | High SD wind, Lisbon-Enderlin 115 kV outage. Summer ratings persist until Nov. 1.
221806 | RICHR1_BYUCOV4 A | -1 | RICHARD-BAYOU COVE 138 - 2 | RT | Off-peak | 2025-05-01 | 736.89 | 26 | 1136.26 | 29542.78 | 72.41 | 6.37% | RICHRD RICHR1_BYUCOV4 A (LN/EES/EES) | Richard-Nelson 500 kV outage. River Bend trip. Part of the NOLA load shed event.
471089 | MCKNIT_FRKLIN8 A | 1 | DANIEL 500/230 08+PS1/PS2 | RT | Off-peak | 2025-05-01 | 841.59 | 35 | 760.12 | 26604.18 | 65.21 | 8.58% | FRKLIN MCKNIT_FRKLIN8 A (LN/EMBA/EES) | Richard-Nelson 500 kV outage. River Bend trip. Part of the NOLA load shed event. HJ25 binding event was partially driven by Barker's Ck-Bogalusa 230 kV outage.
462314 | NELSO1_LKCHRB4 A | 1 | NELSON - LAKE CHARLES BULK LN2 138 | RT | Off-peak | 2025-05-01 | 417.4 | 59 | 338.39 | 19964.81 | 48.93 | 14.46% | NELSON_E NELSO1_LKCHRB4 A (LN/EES/EES) | Richard-Nelson 500 kV outage. River Bend trip. Part of the NOLA load shed event.
317340 | 1368 A | 1 | FORT CALHOUN-RAUN 345 | RT | Off-peak | 2025-05-01 | 266.47 | 55 | 322.12 | 17716.71 | 43.42 | 13.48% | PTRBRG_N 1368 A (LN/NPPD/NPPD) | NP_3515 A (Hoskins-Shell Ck) 345 kV outage (SPP equipment). High wind.
491073 | 865 A | 1 | LIEBERMAN-NORTH BENTON 138 | RT | Off-peak | 2025-05-01 | 417.63 | 16 | 843.95 | 13503.17 | 33.1 | 3.92% | SSHREVE 865 A (LN/CSWS/CSWS) | Whitehurst-Trichel 138 kV outage (SPP equipment).
201082 | BOGLSA AT3 | 1 | MCKNIGHT - FRANKLIN 500 | RT | Off-peak | 2025-05-01 | 693.12 | 24 | 545.16 | 13083.83 | 32.07 | 5.88% | BOGLSA AT3 AT3 (XF/EES/*) | Richard-Nelson 500 kV outage. River Bend trip. Part of the NOLA load shed event.
3744 | KOKOMTIPTO23_1 1 | 1 | NUCOR - CAYUGA 345 (34501) | RT | Off-peak | 2025-05-01 | 274.13 | 49 | 220.69 | 10813.98 | 26.5 | 12.01% | KOKOMOPS KOKOMTIPTO23_1 1 (LN/CIN/CIN) | Amo-Edwardsport, Worthington-Merom, Worthington-Bloomington, Desoto-Fall Creek (PJM equipment) 345 kV outages.
315938 | BARKRC_BOGLSA6 A | -1 | MCKNIGHT - COLY 500 | RT | Off-peak | 2025-05-01 | 578.43 | 26 | 363.46 | 9449.96 | 23.16 | 6.37% | BARKRC BARKRC_BOGLSA6 A (LN/CLEC/EES) | Richard-Nelson 500 kV outage. River Bend trip. Part of the NOLA load shed event.
293676 | DAWSOLEWIS11_1 1 | 1 | BELFIELD-CHARLIE CREEK 345 | RT | Off-peak | 2025-05-01 | 117.8 | 58 | 160.37 | 9301.64 | 22.8 | 14.22% | DAWSONC DAWSOLEWIS11_1 1 (LN/WAUE/WAUE) | Polar-Culbertson 115 kV outage (SPP equipment). ND, MT wind pushes. Leland Olds, Coyote outages. Needs summer ratings, bullish transmission outage, and wind push to bind.
466859 | WILMART TR9_2 | -1 | MANKATO - WILMARTH 345 | RT | Off-peak | 2025-05-01 | 130.22 | 32 | 287.73 | 9207.3 | 22.57 | 7.84% | WILMART TR9 TR9_2 (XF/NSP/*) | CB 8S24 @ Wilmarth forced outage, Crandal-Wilmarth 345 kV contingency leading to post-contingent split bus.
490757 | BARN-CALF-1 B | -1 | MONTGOMERY - CALLAWAY - 8 345 | RT | Off-peak | 2025-05-01 | 249.8 | 25 | 306.91 | 7672.81 | 18.81 | 6.13% | APCT BARN-CALF-1 B (LN/AMMO/AMMO) | Callaway outage. Montgomery-Callaway 345 kV, Belleau-Enon Tap-Montgomery 345 kV outages, Rootbeer tap project.
344916 | 11303 A | -1 | FAIRPORT - GENTRY - NODAWAY 161 | RT | Off-peak | 2025-05-01 | 228.57 | 35 | 199.78 | 6992.39 | 17.14 | 8.58% | MIDWAY5 11303 A (LN/MPS/MPS) | Southward wind transfer. Maryville-Braddyville 161 kV outage is sometimes bullish, sometimes bearish.
235516 | SCRIBWILTO11_1 1 | -1 | WILTON-WINGER_230 | RT | Off-peak | 2025-05-01 | 339.86 | 26 | 217.87 | 5664.63 | 13.88 | 6.37% | SCRIBNER SCRIBWILTO11_1 1 (LN/OTP/OTP) | Boswell push. Low wind is bullish.
357472 | MURPHHAYWA16_1 1 | -1 | SHEAS LAKE - WILMARTH 345 | RT | Off-peak | 2025-05-01 | 64.97 | 45 | 106.11 | 4775.06 | 11.7 | 11.03% | MURPHYCR MURPHHAYWA16_1 1 (LN/SMP/ALTW) | Adams-Hayward 161 kV outage. Eastward wind transfer.
334112 | FT_CARAUN34_1 1 | -1 | BEAVER CR FBC - GRIMES 345 | RT | Off-peak | 2025-05-01 | 66.76 | 71 | 65.89 | 4678.26 | 11.47 | 17.41% | FT_CAL FT_CARAUN34_1 1 (LN/OPPD/MEC) | NP_3515 A (Hoskins-Shell Ck) 345 kV, Tekamah-Sub 161 kV outages (SPP equipment). Southward wind transfer.
72687 | 13831 A | 1 | BURNHAM-MUNSTER 345 (34504) | RT | Off-peak | 2025-05-01 | 347.85 | 15 | 311.72 | 4675.73 | 11.46 | 3.68% | CHICAGO 13831 A (LN/NIPS/NIPS) | Dumont-Wilton Center 765 kV outage, summer ratings
177 | HAZLTDUNDE16_1 1 | 1 | DUANE ARNOLD - HAZLETON 345 | RT | Off-peak | 2025-05-01 | 140.08 | 31 | 149.76 | 4642.67 | 11.38 | 7.6% | HAZLTON HAZLTDUNDE16_1 1 (LN/ALTW/ALTW) | Hickory Ck-Hazleton 345 kV outage. Eastward wind transfer. Stronger Off-Pk vs. Pk.
77127 | RAUNTEKAM16_1 1 | 1 | FORT CALHOUN-RAUN 345 | RT | Off-peak | 2025-05-01 | 186.67 | 23 | 191.9 | 4413.62 | 10.82 | 5.64% | RAUN RAUNTEKAM16_1 1 (LN/MEC/OPPD) | Southward wind transfer, Walter Scott Jr. outage, LN3521 A (SPP equipment) 345 kV outage, Sioux City-Twin Church 230 kV outage.

## Merged
mon
ABBOTT ABBOTTRAER16_1 1 (LN/ALTW/ALTW)
APCT BARN-CALF-1 B (LN/AMMO/AMMO)
BARKRC BARKRC_BOGLSA6 A (LN/CLEC/EES)
BOGLSA AT3 AT3 (XF/EES/*)
CHICAGO 13831 A (LN/NIPS/NIPS)
CHUB_LK R1_1 TR1_1 (XF/NSP/*)
DAWSONC DAWSOLEWIS11_1 1 (LN/WAUE/WAUE)
FORMAN FORMAFORMN11_1 1 (LN/OTP/WAUE)
FRKLIN MCKNIT_FRKLIN8 A (LN/EMBA/EES)
FT_CAL FT_CARAUN34_1 1 (LN/OPPD/MEC)
GOODLAND B NO_1_XFMR (XF/NIPS/*)
HAZLTON HAZLTDUNDE16_1 1 (LN/ALTW/ALTW)
HNTT BUGL_MASN_6564 B (LN/AMMO/AMMO)
HULL HULL_MRN_7324 A (LN/AMIL/AMMO)
KOKOMOPS KOKOMTIPTO23_1 1 (LN/CIN/CIN)
LIME_CK LIME_BARTO16_1 1 (LN/ALTW/ALTW)
MCLEODN TR1 TR1 (XF/NSP/*)
MIDWAY5 11303 A (LN/MPS/MPS)
MOB OVRT-MOB-1 A (LN/AMMO/AMMO)
MURPHYCR MURPHHAYWA16_1 1 (LN/SMP/ALTW)
NELSON_E NELSO1_LKCHRB4 A (LN/EES/EES)
NORWGNCK X-164 1 (LN/ALTE/ALTE)
OVER X345 XFMR_1_345 (XF/AMMO/*)
PTRBRG_N 1368 A (LN/NPPD/NPPD)
RAUN RAUNTEKAM16_1 1 (LN/MEC/OPPD)
RICHRD RICHR1_BYUCOV4 A (LN/EES/EES)
SCRIBNER SCRIBWILTO11_1 1 (LN/OTP/OTP)
SSHREVE 865 A (LN/CSWS/CSWS)
WARR BIGC-WARR-3 A (LN/AMMO/AECI)
WILMART TR9 TR9_2 (XF/NSP/*)