## Jun-25 RT Pk
cid | monitored | dir | ctg | mkt | class | moyr | std | cnt | avg | sum | per_avg | bind% | mon_name | drivers
307138 | W-15 1 | -1 | PT BEACH-KEWAUNE 345 (Q303) | RT | Peak | 2025-06-01 | 2267.45 | 15 | 3065.45 | 45981.7 | 136.85 | 4.46% | FORESTJC W-15 1 (LN/WEC/WEC) | Summer derate, Granville-Sheboygan Falls 345 kV outage.
493743 | 13819 A | -1 | BURR OAK - HIPLE 345 (34529) | RT | Peak | 2025-06-01 | 663.6 | 40 | 741.59 | 29663.58 | 88.28 | 11.9% | PLYMOUT2 13819 A (LN/NIPS/NIPS) | Burr Oak-Leesburg, Reynolds-Greentown 345 kV outages, Reynolds No. 3 XFMR 765/345 kV outages. Solar push (Cavalry Solar Hybrid, Twin Lakes Solar).
3463 | 3443 34 | 1 | BUTLER-GRANVILLE 138 (3453) | RT | Peak | 2025-06-01 | 1079.46 | 24 | 796.42 | 19114.05 | 56.89 | 7.14% | GRANVILL 3443 34 (LN/WEC/WEC) | Cornell-Febrantz 138 kV, Granville-Rangeline 138 kV outages.
28297 | PENN_LEEDS11_1 1 | -1 | BALTA GRE-RAMSEY 230 | RT | Peak | 2025-06-01 | 290.8 | 38 | 462.76 | 17584.92 | 52.34 | 11.31% | PENN_TAP PENN_LEEDS11_1 1 (LN/WAUE/WAUE) | Center-Prairie, Center-Jamestown, Center-Center (Reactor) 345 kV outages. Bismarck area coal and win generation push.
334400 | SCOTTSCOTT11_1 1 | 1 | SCOTT CO - BLUE LAKE 345 | RT | Peak | 2025-06-01 | 346.32 | 34 | 497.97 | 16930.87 | 50.39 | 10.12% | SCOTTCO SCOTTSCOTT11_1 1 (LN/NSP/NSP) | Helena-Chub Lk 345 kV outage (clear relationship). Dean Lk-Scott Tap 115 kV outage. Eastward wind transfer. Seems to require a clearly bullish outage to increase sensitivity to wind transfer and drive a binding event.
3744 | KOKOMTIPTO23_1 1 | 1 | NUCOR - CAYUGA 345 (34501) | RT | Peak | 2025-06-01 | 618.51 | 41 | 403.7 | 16551.81 | 49.26 | 12.2% | KOKOMOPS KOKOMTIPTO23_1 1 (LN/CIN/CIN) | Amo-Edwardsport, Worthington-Merom, Worthington-Bloomington, Desoto-Fall Creek (PJM equipment) 345 kV outages. New solar pushes.
345080 | ESTBMBISMA11_1 1 | -1 | MANDAN-WARDWA 230 | RT | Peak | 2025-06-01 | 473.34 | 31 | 470.37 | 14581.35 | 43.4 | 9.23% | ESTBMRK ESTBMBISMA11_1 1 (LN/MDU/WAUE) | Merricourt-Wishek 230 kV outage. Garrison hydro, Wilton Wind Farm push. Low wind gen from Bison Wind Farm, Emmons-Logan Wind Farm, Sunflower Wind Project, Oliver Wind. Coyote relieves. MDU excess load.
3569 | DRESS08ALE13_2 1 | 1 | WABASH RIVER-STAUNTON 230 (23002) | RT | Peak | 2025-06-01 | 641.46 | 16 | 906.69 | 14507.1 | 43.18 | 4.76% | DRESSER DRESS08ALE13_2 1 (LN/CIN/CIN) | Worthington-Merom 345 kV outage, Worthington-Bloomington 345 kV outage, Amo-Edwardsport 345 kV outage. These were a result of the mid-May tornado damage that was also bullish Kokomo-Tipton (due to a lack of transmission to support flows into Indianapolis). Requires materially bullish transmission outages to bind.
77127 | RAUNTEKAM16_1 1 | 1 | FORT CALHOUN-RAUN 345 | RT | Peak | 2025-06-01 | 260.35 | 45 | 303.06 | 13637.61 | 40.59 | 13.39% | RAUN RAUNTEKAM16_1 1 (LN/MEC/OPPD) | Driven by excess MEC, ALTW supply and excess Omaha load. Tekamah-Sub 161 kV (SPP equipment) outages prevent this from binding.
353605 | MCLEODN TR1 | 1 | SCOTT CO - HELEN 345 | RT | Peak | 2025-06-01 | 498.85 | 23 | 557.26 | 12817.08 | 38.15 | 6.85% | MCLEODN TR1 TR1 (XF/NSP/*) | Helena-Chub Lk 345 kV outage (clear relationship). Dean Lk-Scott Tap 115 kV outage. Eastward wind transfer. Seems to require a clearly bullish outage to increase sensitivity to wind transfer and drive a binding event. Winthrop-Winthrop 69 kV outage also flagged as bullish.
292300 | FARGOSHEYN23_1 1 | 1 | HANKINSON-WAHPETON 230+WAHPETN TR2 | RT | Peak | 2025-06-01 | 470.95 | 28 | 456.22 | 12774.15 | 38.02 | 8.33% | FARGO FARGOSHEYN23_1 1 (LN/WAUE/OTP) | Center-Prairie, Center-Jamestown, Center-Center (Reactor) 345 kV outages. Enderlin-Alice, Travpip-Fairmount 115 kV outages. Transmission outages left Fargo-Shey exposed to Eastward wind transfer risk. The Center-Jamestown 345 kV contingency has higher sensitivity to coal push than the Hankinson-Wahpeton 230 kV contingency.
314718 | FORMAFORMN11_1 1 | 1 | HANKINSON-WAHPETON 230+WAHPETN TR2 | RT | Peak | 2025-06-01 | 141.9 | 61 | 205.76 | 12551.37 | 37.36 | 18.16% | FORMAN FORMAFORMN11_1 1 (LN/OTP/WAUE)
286656 | 15616 1 | -1 | BYRON - WAYNE 345 (0626) | RT | Peak | 2025-06-01 | 316.37 | 25 | 441.75 | 11043.72 | 32.87 | 7.44% | SILVERL0 15616 1 (LN/CE/CE) | Summer derate. PJM (ComEd) equipment. Flows into ComEd (driven by a macro supply imbalance) are bullish.
466835 | MSFLD_PELICAN A | 1 | HARTBURG-LAYFIELD 500 | RT | Peak | 2025-06-01 | 461.66 | 18 | 532.45 | 9584.14 | 28.52 | 5.36% | MANFL7 MSFLD_PELICAN A (LN/CLEC/CLEC) | Fisher AT1 230/138 kV outage (clean relationship). Pelican load. Binding events are heavily reliant upon the Fisher AT1 230/138 kV outage.
468551 | MINR_COMS_7224 A | -1 | WNEW MADRID-ESSEX-LUTESVILLE-1 345 | RT | Peak | 2025-06-01 | 246.87 | 40 | 238.84 | 9553.76 | 28.43 | 11.9% | MINR MINR_COMS_7224 A (LN/AMMO/AMMO) | Idalia-Essex 161 kV outage (AECI equipment). Gobknob-St. Francis 345 kV outage (AECI equipment). New Madrid pushes. New Madrid-Marston-Portagville 161 kV outages/future equipment seem relevant.
302786 | MTGY_SPCK_5503 A | -1 | ACTUAL | RT | Peak | 2025-06-01 | 423.76 | 20 | 388.68 | 7773.65 | 23.14 | 5.95% | MTGY MTGY_SPCK_5503 A (LN/AMMO/AMMO) | Callaway outage (seems necessary for this to bind). Huck Finn solar, Audrain, Morris Solar, Western IL nukes push. Expression of macro Southward flow bottleneck and net supply imbalance when it binds.
334068 | ELK_NLG EL | 1 | SUNRISE-WHITEWATER 138 (4434) | RT | Peak | 2025-06-01 | 121.9 | 58 | 133.59 | 7747.97 | 23.06 | 17.26% | ELKHORN ELK_NLG EL (LN/ALTE/ALTE)
332040 | OVER XFMR_1_345 | 1 | MCCREDIE - OVERTON 345 | RT | Peak | 2025-06-01 | 388.03 | 19 | 367.72 | 6986.77 | 20.79 | 5.65% | OVER X345 XFMR_1_345 (XF/AMMO/*) | Callaway outage, Thomas Hill derate. Sportsman-Blackberry 345 kV outage (AECI equipment), Blackberry-Neosho 345 kV outage (AECI/SPP tie line), Blackberry-Jasper 345 kV outage (AECI equipment), Huben-Morgan 345 kV outage (AECI equipment).
456183 | EROG_BEAVER_1A A | 1 | BROOKLINE - FLINTCREEK 345 | RT | Peak | 2025-06-01 | 510.88 | 14 | 482.29 | 6752.02 | 20.1 | 4.17% | EROGERS EROG_BEAVER_1A A (LN/CSWS/CSWS) | Sportsman-Blackberry 345 kV outage (AECI equipment), Blackberry-Neosho 345 kV outage (AECI/SPP tie line), Blackberry-Jasper 345 kV outage (AECI equipment). Tulsa area, SPP gen pushes.
420883 | MURPHHAYWA16_1 1 | -1 | SCOTT CO - HELEN 345 | RT | Peak | 2025-06-01 | 85.08 | 51 | 118.15 | 6025.66 | 17.93 | 15.18% | MURPHYCR MURPHHAYWA16_1 1 (LN/SMP/ALTW) | Helena-Chub Lk 345 kV outage. Wind pushes. Prairie Island, Pleasant Valley, Grand Meadow wind farms relieve.

## Jun-25 RT Off
cid | monitored | dir | ctg | mkt | class | moyr | std | cnt | avg | sum | per_avg | bind% | mon_name | drivers
334400 | SCOTTSCOTT11_1 1 | 1 | SCOTT CO - BLUE LAKE 345 | RT | Off-peak | 2025-06-01 | 773.26 | 54 | 1059.9 | 57234.61 | 149.05 | 14.06% | SCOTTCO SCOTTSCOTT11_1 1 (LN/NSP/NSP) | Helena-Chub Lk 345 kV outage (clear relationship). Dean Lk-Scott Tap 115 kV outage. Eastward wind transfer. Seems to require a clearly bullish outage to increase sensitivity to wind transfer and drive a binding event.
28297 | PENN_LEEDS11_1 1 | -1 | BALTA GRE-RAMSEY 230 | RT | Off-peak | 2025-06-01 | 347.73 | 72 | 461.68 | 33240.88 | 86.56 | 18.75% | PENN_TAP PENN_LEEDS11_1 1 (LN/WAUE/WAUE) | Center-Prairie, Center-Jamestown, Center-Center (Reactor) 345 kV outages. Bismarck area coal and win generation push.
292300 | FARGOSHEYN23_1 1 | 1 | HANKINSON-WAHPETON 230+WAHPETN TR2 | RT | Off-peak | 2025-06-01 | 451.36 | 54 | 490.84 | 26505.59 | 69.02 | 14.06% | FARGO FARGOSHEYN23_1 1 (LN/WAUE/OTP) | Center-Prairie, Center-Jamestown, Center-Center (Reactor) 345 kV outages. Enderlin-Alice, Travpip-Fairmount 115 kV outages. Transmission outages left Fargo-Shey exposed to Eastward wind transfer risk. The Center-Jamestown 345 kV contingency has higher sensitivity to coal push than the Hankinson-Wahpeton 230 kV contingency.
1531 | TEKAMSUB1216_1 1 | 1 | FORT CALHOUN-RAUN 345 | RT | Off-peak | 2025-06-01 | 292.45 | 38 | 361.28 | 13728.82 | 35.75 | 9.9% | TEKAMHO TEKAMSUB1216_1 1 (LN/OPPD/OPPD) | Southward wind transfer. Wind generation from Sioux City to Sioux Falls pushes. Coal, gas generation from Omaha to Kansas City relieve.
420883 | MURPHHAYWA16_1 1 | -1 | SCOTT CO - HELEN 345 | RT | Off-peak | 2025-06-01 | 127.08 | 109 | 124.93 | 13617.87 | 35.46 | 28.38% | MURPHYCR MURPHHAYWA16_1 1 (LN/SMP/ALTW) | Helena-Chub Lk 345 kV outage. Wind pushes. Prairie Island, Pleasant Valley, Grand Meadow wind farms relieve.
235056 | S3GRANI11_1 1 | 1 | LYON COUNTY 345/115 T9 | RT | Off-peak | 2025-06-01 | 141.54 | 85 | 155.9 | 13251.26 | 34.51 | 22.14% | S3 S3GRANI11_1 1 (LN/WAUE/WAUE) | Yankee-Buffalo Ridge-Pipestone 115 kV outages. Buffalo Ridge, Coyote Ridge push. Transmission outages leave this exposed to Eastward wind transfer.
353605 | MCLEODN TR1 | 1 | SCOTT CO - HELEN 345 | RT | Off-peak | 2025-06-01 | 270.5 | 36 | 301.18 | 10842.41 | 28.24 | 9.38% | MCLEODN TR1 TR1 (XF/NSP/*) | Helena-Chub Lk 345 kV outage (clear relationship). Dean Lk-Scott Tap 115 kV outage. Eastward wind transfer. Seems to require a clearly bullish outage to increase sensitivity to wind transfer and drive a binding event. Winthrop-Winthrop 69 kV outage also flagged as bullish.
243134 | DARD_D_DARDNL5 A | -1 | ARKANSAS NUCLEAR - FT SMITH 500 | RT | Off-peak | 2025-06-01 | 650.83 | 17 | 615.9 | 10470.38 | 27.27 | 4.43% | DARDNL DARD_D_DARDNL5 A (LN/EAI/SPA) | Contemporaneous Hilltop-Dardanelle 161 kV, Dadanelle-Clarksville 161 kV (SPP equipment) outages. Arkansas Nuclear One pushes. SPP wind relieves.
287768 | 08HILCAYUG23_1 1 | 1 | DRESSER - SUGAR CREEK 345 (34538) | RT | Off-peak | 2025-06-01 | 495.87 | 31 | 326.86 | 10132.81 | 26.39 | 8.07% | CAYUGA 08HILCAYUG23_1 1 (LN/CIN/CIN) | Cayuga, Jordan Ck push. Wabash Valley, Merom relieve. Casey-Kansas 345 kV outage was mildly bullish.
314718 | FORMAFORMN11_1 1 | 1 | HANKINSON-WAHPETON 230+WAHPETN TR2 | RT | Off-peak | 2025-06-01 | 135.82 | 54 | 179.44 | 9689.7 | 25.23 | 14.06% | FORMAN FORMAFORMN11_1 1 (LN/OTP/WAUE)
442097 | 5SHEL_SEGAT 1 | -1 | FREEPORT - CORDOVA 500 | RT | Off-peak | 2025-06-01 | 635.07 | 10 | 936.76 | 9367.63 | 24.39 | 2.6% | 5S_E_GAT 5SHEL_SEGAT 1 (LN/TVA/TVA)
484131 | LIME_BARTO16_1 1 | 1 | SCOTT CO - HELEN 345 | RT | Off-peak | 2025-06-01 | 185.66 | 51 | 167.89 | 8562.54 | 22.3 | 13.28% | LIME_CK LIME_BARTO16_1 1 (LN/ALTW/ALTW)
493743 | 13819 A | -1 | BURR OAK - HIPLE 345 (34529) | RT | Off-peak | 2025-06-01 | 362.43 | 19 | 371.77 | 7063.61 | 18.39 | 4.95% | PLYMOUT2 13819 A (LN/NIPS/NIPS) | Burr Oak-Leesburg, Reynolds-Greentown 345 kV outages, Reynolds No. 3 XFMR 765/345 kV outages. Solar push (Cavalry Solar Hybrid, Twin Lakes Solar).
334068 | ELK_NLG EL | 1 | SUNRISE-WHITEWATER 138 (4434) | RT | Off-peak | 2025-06-01 | 142.02 | 29 | 178.73 | 5183.29 | 13.5 | 7.55% | ELKHORN ELK_NLG EL (LN/ALTE/ALTE) | Darien Solar push.
324540 | LIME_BARTO16_1 1 | 1 | KILLDEER - QUINN 345 | RT | Off-peak | 2025-06-01 | 199.58 | 25 | 199.13 | 4978.13 | 12.96 | 6.51% | LIME_CK LIME_BARTO16_1 1 (LN/ALTW/ALTW)
61697 | PVLYGBYRO_16_1 1 | 1 | BYRON-PLEASANT VALLEY 345 | RT | Off-peak | 2025-06-01 | 204.78 | 30 | 160.61 | 4818.31 | 12.55 | 7.81% | PVLYGRE PVLYGBYRO_16_1 1 (LN/GRE/NSP) | Manitoba DC imports are bearish. Pleasant Valley, Grand Meadow, Pioneer Prairie, Freeborn, Crystal Lake wind farms (i.e., North-Central IA, IA/MN border wind) push. Alma, Black Dog, Sherco, Faribault, Prarie Island relieve. At risk of binding during high wind in Northern IA and tight conditions in Minneapolis.
281264 | 11335 A | 1 | EUREKA SPRINGS-BEAVER DAM 161 | RT | Off-peak | 2025-06-01 | 282.83 | 9 | 453.88 | 4084.94 | 10.64 | 2.34% | AUR1241 11335 A (LN/EDE/EDE)
448595 | CRG_CRBN_98105 A | 1 | BUREAU - KEWANEE 138 (1603) | RT | Off-peak | 2025-06-01 | 124.93 | 34 | 116.31 | 3954.48 | 10.3 | 8.86% | CRESENT CRG_CRBN_98105 A (LN/CE/AMIL) | Highly sensitive to wind push from wind farms North, Northeast of Galesburg, IL.
286656 | 15616 1 | -1 | BYRON - WAYNE 345 (0626) | RT | Off-peak | 2025-06-01 | 202.11 | 17 | 212.93 | 3619.78 | 9.43 | 4.43% | SILVERL0 15616 1 (LN/CE/CE) | Summer derate. PJM (ComEd) equipment. Flows into ComEd (driven by a macro supply imbalance) are bullish.
77127 | RAUNTEKAM16_1 1 | 1 | FORT CALHOUN-RAUN 345 | RT | Off-peak | 2025-06-01 | 143.09 | 25 | 128.84 | 3221.1 | 8.39 | 6.51% | RAUN RAUNTEKAM16_1 1 (LN/MEC/OPPD) | Driven by excess MEC, ALTW supply and excess Omaha load. Tekamah-Sub 161 kV (SPP equipment) outages prevent this from binding.